## Sheet1
Over-Temp Micro State Machine
State | Relay | Audible
Init (0) | Open | Off
Startup (1) | Closed | Off
InRange (2) | Closed | Off
Low Alarm (3) | Open | On
High Alarm (4) | Open | On
Error (5) | Open | On
Sensor Error = Counts < 200 or Counts > 65000
Sensor Ok = Counts > 400 or Counts < 64500
Input Frame from Master
| High SP | Float
| Low SP | Float
| Hysteresis | Float
Output Frame to Master sent every 100ms
| State | U16
| Sensor 1 Reading | Float
| Sensor 1 State | U16
| Sensor 1 Counts | U16
| Sensor Amb Reading | Float
| Sensor Amb State | U16
| Sensor Amb Counts | U16
Init
Startup
High Alarm
Got Input
Frame
> High SP
> Low SP
In Range
Low Alarm
< Low SP
> High SP
> Low SP + Hys
< High SP + Hys
Error
Sensor
OK
Sensor
Error
Sensor
Error
Sensor
Error
Input Frame Not Received for 10 seconds from ANY State
Sensor
Error